QUESTIONNAIRE FOR SELECTION OF

INFRARED RADIATION THERMOMETER

(Please fill in separately for each application)

1.  	APPLICATION

a) 	Application and process details             :

(Enclose a drawing/ draw sketch overleaf

of Process/ Equipment/ and the object

to be measured

b) 	Method of heating/cooling of object, the :

temperature. of which is  to be measured

2.    Details of OBJECT to be measured

a) 	Material                                 	:

b) 	Size & Shape of object                   	:

c) 	Surface condition & colour               	:

d) 	Area on object available/ desired for    	:

measurement

e) Temperature range of the Object 	:   Normal working temperature : _________C

Desired temp. range         :  _______ __to _________°C

f) Is the object moving or stationary?     	: Stationary / Moving (specify speed)

g) Distance between Thermometer & object:

h) Presence of smoke/fumes/ water vapor   : Please specify if any.

In the sight path of the IR thermometer

- TYPE  of Pyrometer you are looking for        :  Portable / On line for continuous use  / Scanning type

4   	OUTPUTS					: Tick mark your requirement

4.1. 	On Line or Scanning type	:  4-20 mA DC/ Digital / Alarm

4.2    	Portable models			:  None, Digital RS 232/ mV DC /   Audio/ Visual Alarm

5 	Controlling /Recording / Data logging         : No/Yes, If yes tick mark requirement

5.1        Control	:  By PID/ On-Off Controller

5.2        Recording 	:	 Potentiometer/ Hybrid/ Paperless Recorder

5.3         Data logging	:	 Data logging on Computer

6   	AMBIENT Conditions       	: a)   Max. temperature : ___°C

At the location of use or 			  b)  Presence of smoke/ fumes/ water vapors/ dust

at the place of mounting	in the sighting path of Thermometer ; Yes/ No

- Presence of high frequency / high voltage: Yes/No.

- Any Other Information / Special requirement :

Name   :_______________________________________	Tel No:

Designation :___________________________________	             Mobile:

Address  :  _____________________________________	Fax:

_____________________________________	E-mail:

Or attach your visiting card